## KPI_Matrix
Key Performance Indicator | Baseline Model (Status Quo) | Optimized Model (Knee-Point) | Delta Improvement (%)
Energy Consumption (kWh/yr) | 2500000 | 1950000 | -22.0%
Carbon Emissions (tonCO2/yr) | 450000 | 290000 | -35.5%
Total Annual Cost (M USD/yr) | 125.5 | 118.2 | -5.8%
Overall Thermal Efficiency (%) | 68.4 | 79.1 | +10.7%

## Equipment_Upgrades
Equipment_ID | Equipment_Name | Baseline_Efficiency (η_base) | Optimal_Efficiency (η_opt) | Incremental_CAPEX_Req (M USD) | Recommended_Green_Tech
E01 | Centrifugal Compressor | 0.7 | 0.82 | 4.5 | Variable Speed Drives (VSD)
E02 | Acid Gas Removal (Amine) | 0.7 | 0.81 | 3.2 | Advanced Solvent (MDEA Blend)
E03 | Utility Boiler / Furnace | 0.8 | 0.92 | 2.1 | Condensing Economizer
E04 | Gas Turbine Generator (GTG) | 0.75 | 0.88 | 8.5 | HRSG Integration

## Multi_Plant_Perf
Plant_ID | Plant_Name | Opt_Q_Alloc_MMSCFD | Total_Cost_USD_MMSCFD | Carbon_Intensity_ton_MMSCFD | Composite_SPI_Score
P01 | JTB | 180 | 145000 | 2.8 | 0.61
P02 | Tangguh | 2600 | 115000 | 0.9 | 0.88
P03 | Arun | 1200 | 125000 | 2.1 | 0.79
P04 | Grissik | 230 | 138000 | 1.5 | 0.68
P05 | Senoro | 140 | 150000 | 0.8 | 0.74

## Carbon_Tax_Sens
Carbon_Tax (USD/Ton) | Cost_Status_Quo (M USD) | Cost_Green_Tech (M USD) | Delta_Cost (M USD) | Decision_Recommendation
0 | 120 | 150 | -30 | Maintain Status Quo
5 | 132.5 | 152.5 | -20 | Maintain Status Quo
10 | 145 | 155 | -10 | Maintain Status Quo
15 | 157.5 | 157.5 | 0 | Maintain Status Quo
20 | 170 | 160 | 10 | Invest in Green Tech
25 | 182.5 | 162.5 | 20 | Invest in Green Tech
30 | 195 | 165 | 30 | Invest in Green Tech
35 | 207.5 | 167.5 | 40 | Invest in Green Tech
40 | 220 | 170 | 50 | Invest in Green Tech
45 | 232.5 | 172.5 | 60 | Invest in Green Tech
50 | 245 | 175 | 70 | Invest in Green Tech
55 | 257.5 | 177.5 | 80 | Invest in Green Tech